Study Title:  xxx

IRB Information about the Use of Radiation in Human Research Studies

Index

I.	Guidelines for Radiation Risk Statements

II.	Radiation Exposure Worksheet

•	Table I  Effective Dose Equivalents for Routine Diagnostic X-Ray Procedures

•	Table II  Effective Dose Equivalents for Routine CT Procedures

•	Table III Effective Dose Equivalents for Routine Diagnostic Nuclear Medicine Procedures in Adults

III.	Calculate Radiation Dosimetry Totals for Routine and Non-Routine Procedures and Identify Risk Category

IV.	Comparative Risk Statements

Study Title:  xxx

IRB Information about the Use of Radiation in Human Research Studies

I. Guidelines for Radiation Risk Statements for Clinical Investigation Projects Involving Human Subjects

When a participant in a research study is to be exposed to ionizing radiation (other than that which is part of the accepted management of the participant’s medical condition) the consent form must make a disclosure of the type of radiation and its risks.

a.	It must also include an explanation as to whether the ionizing radiation exposure (dose) will come from an external source or by the administration of radioactive materials.

b.	For subjects who will not benefit from participation in the study, it must include a statement regarding the long term risks of low dose radiation. The appropriate risk statement should be based on both the effective dose equivalent,

HE, (the average effective radiation dose to the total body) and calculated organ dose equivalents (WTHT, where WT =

organ weighting factor and HT = organ dose) (see Radiation Exposure Worksheets for further instructions).

c.	Based on these calculations, the dose due to radiation exposure will be given a category designation. Three (3) categories have been defined using a combination of criteria: (i) known exposures to standard radiologic and nuclear medicine procedures, (ii) criteria used to limit occupational and public exposure, and (iii) FDA guidelines.

Category I exposure is close to that received from naturally occurring background radiation and is less or equal to radiation from most routine radiologic and nuclear medicine procedures. For category I exposure, an organ specific risk statement is not required, although a general statement about low dose radiation risk should be included (see below).

Category II exposure exceeds that of routine procedures but is within the FDA guideline limits and is less than the allowable occupational exposure limit.  For category II exposure, organs at specific risk (those whose dose exceeds 150/WT) should be identified.  The general statement about low dose radiation should also be included.

Category III exposure exceeds occupational exposure limits but less than current risk threshold set by AAPM and HPS. For category III exposure, radiation risks should be discussed in terms of known cancer risk (based on BEIR VII* estimates, for example) or other known risks (such as bone marrow suppression, hair loss, etc.).

Category IV exposure exceeds current risk threshold set by AAPM and HPS. Above this limit, radiation exposure may increase risk of cancer induction relative to the general population. The potential benefits of the radiation exposure will need to be individualized for any Category IV protocol.

d.	If pregnancy is contraindicated, women of child-bearing potential must be informed that they can participate only if they are certain that they are not pregnant.  Below is a sample statement cautioning against pregnancy.  Pregnant subjects are usually excluded from protocols using ionizing radiation, but conditions could exist where pregnant subjects may be involved.  These protocols will be reviewed on a case by case basis.  For studies involving women of reproductive potential, a routine pregnancy screening is required for studies in Categories II and III.  For Category I studies, the respective radiation safety committee of the site institution will determine on a protocol by protocol basis whether a routine pregnancy test will be required.

If you are pregnant, you cannot take part in this research study.  If you are able to have a baby, are not pregnant and wish to take part in this study, we will give you a test to be sure you are not pregnant now. This test will be free. If you get pregnant while taking part in this study, or you think you are pregnant, please tell Dr.  	 [state name of investigator] right away.

e.	Some patients may be participating in other research protocols that use ionizing radiation. To avoid undue exposure to these subjects, a statement should be included informing the subject to discuss other research exposures with the principle investigator so that total exposure and the associated risks can be assessed and minimized.  Below is an example statement.

If you have had radiation (like x-rays) before, please tell us now. We want to make sure that the amount of radiation you have received within the past year is within safe limits.

-----------------------------

*BEIR VII = Biological Effects of Ionizing Radiation in Health Effects of Exposure to Low Levels of Ionizing Radiation. National

Research Council, National Academic Press, Washington, D.C., 2006.

Study Title:  xxx

II. Radiation Exposure Worksheet

Principal Investigator:  xxx

A. Routine radiographic and nuclear medicine procedures, done for research purposes (see Table I thru III below).  List the number of studies to be performed of each type on each patient in any one year. If procedure is not listed below, give reference as to source of information.

| Procedure | Number of Studies, n | HE* (from Table 1) | n ( HE (mrem) |
| --- | --- | --- | --- |
|  |  | 6. Subtotal nHE | xx mrem |

Table 1)	n × H

em)

Study Title:    xxx

Table I – Effective Dose Equivalents for Routine Diagnostic X-Ray Procedures

| Procedure | HE (mrem**) |
| --- | --- |
| Skull | 10 |
| Cervical spine | 20 |
| Thoracic spine | 100 |
| Lumbar spine | 150 |
| PA and lateral chest | 10 |
| PA chest | 2 |
| Mammography (per view) | 10 |
| Abdomen | 70 |
| Pelvis | 60 |
| Hip | 70 |
| Shoulder | 1 |
| Knee | 0.5 |
| Other extremities | 0.1 |
| Dental - Intraoral | 0.5 |
| Dental – panoramic | 1 |
| Dental – Cone beam CT | 20 |

*	HE = effective dose equivalent, total body

**	1 mrem = 0.01 mSv

Table II – Effective Dose Equivalents for Routine CT Procedures

| CT Study | Effective Dose Equivalent [mrem] |
| --- | --- |
| Head | 200 |
| Neck | 300 |
| Spine | 600 |
| Chest | 700 |
| Chest for pulmonary embolism | 1500 |
| Abdomen | 800 |
| Pelvis | 600 |
| 3-phase liver | 1500 |
| Coronary angiography | 1600 |
| Calcium scoring | 300 |
| Virtual colonoscopy | 1000 |
| Full Body PET/CT w/ FDG | 2180 |

All Effective Dose values from: Mettler FA, Huda W, Yoshizumi TT, et al. Effective doses in Radiology and Diagnostic

Nuclear Medicine: A Catalog. Radiology 2008; 248 (1): 254-263

Study Title:     xxx

Table III – Effective Dose Equivalents for Routine Diagnostic Nuclear Medicine Procedures in Adults

| Nuclear | Medicine | Procedures† |  |  |
| --- | --- | --- | --- | --- |
| Procedure | HE (mrem) | Critical Organ*** | WT | HT (mrem) |
| Brain (HMPAO) | 690 | gallbladder wall | 0.04 | 17250 |
| Brain (FDG) | 1410 | urinary bladder wall | 0.04 | 35250 |
| Biliary (DISIDA)3 | 310 | gallbladder wall | 0.04 | 7750 |
| Bone (Tc-99m MDP) | 630 | bladder | 0.04 | 15750 |
| Pulmonary1 |
| Perfusion (MAA) | 200 | lungs | 0.12 | 1667 |
| Ventilation (Xe) | 50 | Lungs | 0.12 | 417 |
| Renal (DTPA) | 180 | urinary bladder wall | 0.04 | 4500 |
| Cardiovascular |
| 1. Blood Pool (Tc-99m RBC) | 780 | spleen | 0.04 | 19500 |
| 2. Perfusion |  |
| a. Thallium | 4070 | testes | 0.08 | 50875 |
| b. Sestamibi3 |  |  |  |  |
| rest | 1350 | upper large intestine | 0.04 | 33750 |
| stress | 1185 | upper large intestine | 0.04 | 29625 |
| 3. Cardiac (FDG) | 1410 | urinary bladder wall | 0.04 | 35250 |
| Thyroid Scan (Na Iodine 123) | 190 | thyroid | 0.04 | 4750 |
| Gallium-67 Citrate | 1500 | bone surface | 0.01 | 150000 |
| White Blood Cells3 |
| a. Tc-99m | 810 | red bone marrow | 0.12 | 6750 |
| b. In-111 | 670 | spleen | 0.04 | 16750 |
| Tumor (F-18 FDG) | 1410 | urinary bladder wall | 0.04 | 35250 |
| Gastrointestinal (Tc- 99m RBC) |
| a. Bleeding | 780 | spleen | 0.04 | 19500 |
| b. Emptying | 40 | spleen | 0.04 | 1000 |
| Liver-Spleen (Sulfur Colloid) | 210 | liver | 0.04 | 5250 |

2For dual isotope studies add the stress sestamibi to the rest thallium to get the total dose.

***	the organ that receives the greatest exposure from this procedure; use critical organ dose (HT) and organ weighting factor (WT) to determine organ dose equivalent category designation (see III.B)

†	These values refer to standard clinical procedures only.  Any deviation from the standard clinical examination

requires that the protocol and dose evaluation be reviewed by a licensed medical physicist. (see Section B, below)

Sources for Routine Diagnostic Procedure HE estimates:

1Mettler Fred, Bhargavan Mythreyi, Thomadsen Bruce, et al. “Nuclear Medicine Exposure in the United States, 2005-

2007: Preliminary Results, Elsevier, 2008: p 384-391.

2Brugmans MJP, Buijs WCAM, Geleijns J, Lembrechts J. “Population Exposure to Diagnostic Use of Ionizing

Radiation in the Netherlands.” Health Physics 2002; 82: 500-509.

3  http://www.internaldosimetry.com/freedosestimates/adult/index.html

Study Title:  xxx

B.	Non-routine Procedures

1.	Effective Dose Equivalents for any procedures not listed in Tables I, II, and III must be determined by a licensed medical physicist after consultation with the primary investigator.  Please allow at least two weeks for this process.

2. Radiopharmaceutical Information (DUPLICATE FORM TO BE COMPLETED FOR EACH RADIOISOTOPE)

| a. | Total number of radioisotopes being used in the study: | X |
| --- | --- | --- |
| b. | This worksheet is for isotope number: | X |
| c. | Radionuclide / chemical form: | x |
| d. | Millicuries per administration: | x |
| e. | Number of administrations per subject: | X |
| f. | Mode of administration: | X |
| g. | Total mCi dose per study: | X |
| h. | Source (supplier): | x |

3.  Radiation Dosimetry (DUPLICATE FORM TO BE COMPLETED FOR EACH RADIOISOTOPE)

Calculate HE (effective dose equivalent) for each radioisotope used. Attach MIRD calculation or other dosimetry source used to determine individual organ doses.

| Organ / Tissue | Weighting Factor* WT | milliRad/mCi | Organ dose equivalent** HT (mrem) | Organ effective dose equivalent WTHT (mrem) |
| --- | --- | --- | --- | --- |
| Breast | 0.12 | 1.1 | 110 | 13 |
| Small Intestine | 0.12 | 3.5 | 350 | 42 |
| Lungs | 0.12 | 6.9 | 690 | 83 |
| Red Marrow | 0.12 | 3.3 | 330 | 40 |
| Stomach | 0.12 | 1.9 | 190 | 23 |
| Remainder Tissues | 0.12 | 4.2 | 420 | 50 |
| Gonads | 0.08 | 2.5 | 250 | 20 |
| Bladder | 0.04 | 0.8 | 81 | 3.2 |
| Esophagus | 0.04 | 1.3 | 130 | 5.2 |
| Liver | 0.04 | 5.6 | 560 | 22 |
| Thyroid | 0.04 | 6.3 | 630 | 25 |
| Bone surfaces | 0.01 | 1.9 | 190 | 1.9 |
| Brain | 0.01 | 4.9 | 490 | 4.9 |
| Salivary Glands | 0.01 | 4.8 | 480 | 4.8 |
| Skin | 0.01 | 1.0 | 98 | 1.0 |
| Total |  |  | HE (total WTHT) mrem | xxx |

------------------------

*	WT = weighting factor; represents the fraction of the total stochastic risk (i.e. fatal cancer and serious inherited disorders) resulting from the irradiation of that organ or tissue when the total body is irradiated uniformly.  ICRP 2007, Recommendations of the International Commission on Radiological Protection, Publication.

**	Organ dose equivalent = dose administered (mCi) × organ dose (mrem / mCi).  This is the dosimetry. For a specific procedure, this information may be available in the published literature.  For a new procedure, you should contact the institution’s radiation safety committee for assistance in calculating these values.

***   The remainder is composed of the following additional tissues and organs: adipose tissue, adrenals, connective tissue, extrathoracic airways, gall bladder, heart wall, kidney, lymphatic nodes, muscle, prostate, small intestine wall, spleen, thymus and uterus/cervix.

Study Title:  xxx

B.	Non-routine Procedures

1.	Effective Dose Equivalents for any procedures not listed in Tables I, II, and III must be determined by a licensed medical physicist after consultation with the primary investigator.  Please allow at least two weeks for this process.

2. Radiopharmaceutical Information (DUPLICATE FORM TO BE COMPLETED FOR EACH RADIOISOTOPE)

| a. | Total number of radioisotopes being used in the study: | X |
| --- | --- | --- |
| b. | This worksheet is for isotope number: | X |
| c. | Radionuclide / chemical form: | x |
| d. | Millicuries per administration: | X |
| e. | Number of administrations per subject: | X |
| f. | Mode of administration: | X |
| g. | Total mCi dose per study: | X |
| h. | Source (supplier): | x |

3.  Radiation Dosimetry (DUPLICATE FORM TO BE COMPLETED FOR EACH RADIOISOTOPE)

Calculate HE (effective dose equivalent) for each radioisotope used. Attach MIRD calculation or other dosimetry source used to determine individual organ doses.

| Organ / Tissue | Weighting Factor* WT | milliRad/mCi | Organ dose equivalent** HT (mrem) | Organ effective dose equivalent WTHT (mrem) |
| --- | --- | --- | --- | --- |
| Breast | 0.12 | 1.1 | 110 | 13 |
| Small Intestine | 0.12 | 3.5 | 350 | 42 |
| Lungs | 0.12 | 6.9 | 690 | 83 |
| Red Marrow | 0.12 | 3.3 | 330 | 40 |
| Stomach | 0.12 | 1.9 | 190 | 23 |
| Remainder Tissues | 0.12 | 4.2 | 420 | 50 |
| Gonads | 0.08 | 2.5 | 250 | 20 |
| Bladder | 0.04 | 0.8 | 81 | 3.2 |
| Esophagus | 0.04 | 1.3 | 130 | 5.2 |
| Liver | 0.04 | 5.6 | 560 | 22 |
| Thyroid | 0.04 | 6.3 | 630 | 25 |
| Bone surfaces | 0.01 | 1.9 | 190 | 1.9 |
| Brain | 0.01 | 4.9 | 490 | 4.9 |
| Salivary Glands | 0.01 | 4.8 | 480 | 4.8 |
| Skin | 0.01 | 1.0 | 98 | 1.0 |
| Total |  |  | HE (total WTHT) mrem | xxx |

------------------------

*	WT = weighting factor; represents the fraction of the total stochastic risk (i.e. fatal cancer and serious inherited disorders) resulting from the irradiation of that organ or tissue when the total body is irradiated uniformly.  ICRP 2007, Recommendations of the International Commission on Radiological Protection, Publication.

**	Organ dose equivalent = dose administered (mCi) × organ dose (mrem / mCi).  This is the dosimetry. For a specific procedure, this information may be available in the published literature.  For a new procedure, you should contact the institution’s radiation safety committee for assistance in calculating these values.

***   The remainder is composed of the following additional tissues and organs: adipose tissue, adrenals, connective tissue, extrathoracic airways, gall bladder, heart wall, kidney, lymphatic nodes, muscle, prostate, small intestine wall, spleen, thymus and uterus/cervix.

4.  Summary of all radioisotopes from section II.B.3 (all page 3’s completed):

Isotope #1

HE      	mrem

Isotope #4

HE     	mrem

Isotope #2

HE      	mrem

Isotope #5

HE  	mrem

Isotope #3

HE     	mrem

Isotope #6

HE  	mrem

TOTAL (from all radioisotopes combined)	HE     xxx	mrem

Study Title:    xxx

III. Calculate Radiation Dosimetry Totals for Routine and Non-Routine Procedures and Identify Risk Category

A.   Total effective dose equivalent

[Investigator: add all effective dose equivalents from items II.A.6 and II.B.4 (ALL RADIOISOTOPES) and compare it to the category listing given below]

HE	xxx  mrem	= Category

B.   Organ Dose Equivalent

[Investigator: Total each organ dose equivalent (HT from sections II.A and II.B.2 – all radioisotopes ) to the appropriate WT values for each organ on the look-up table below.  Using the Risk category Chart, also below, determine the appropriate organ dose category.  Organ dose equivalent calculations or specific organ risk statements are not required for any of the routine diagnostic radiological procedures (See IIA, Table 1). All standard nuclear medicine procedures will require calculations for the critical organ identified in Table I (II.A). Most will require an organ risk statement.]

Organ(s) in category II:	   	 Organ(s) in category III:

HE Limit (mrem)		Organ limit (mrem) Category I	< 310 mrem	and	HT < 150/WT

Category II	310 < HE < 5,000 mrem	or	150/WT  < HT < 750/WT

Category III                                5,000 < HE < 10,000 mrem      or

Category IV                               HE > 10,000 mrem

HT > 750/WT

[Explanation: Even if the HE is equal to or less than 500 mrem, if the dose equivalent to any organ (HT, itemized in sections II.A and II.B) exceeds 150 divided by the weighted value for that organ (150/WT, see the Look-Up Table at the left for help with this calculation), the study automatically converts to Category II, and an organ risk statement is required.

If Category II is based on HE alone and no organ exceeds 150/WT,an organ risk statement is not required.

If the dose equivalent to any organ exceeds 750/WT, the study automatically converts to Category III and will require an individualized consent form which should include a risk/benefit statement.]

IV.  Comparative Risks

Category I: EDE < 310 mrem

Participation in this research study involves exposure to radiation from medical imaging (ex: Fluoroscopy, CT, PET, Nuclear Medicine scan). Every member of the general public receives approximately 310 mrem (a unit of radiation exposure) every year from natural sources, including cosmic radiation and radiation naturally found in our environment.  Current evidence and research suggest that the risks of medical imaging at radiation doses below 10,000 mrem are too low to be detectable and may be nonexistent (American Association of Physicists in Medicine Policy PP 25, Health Physics Society Position Statement PS010-4). The total amount of radiation exposure that you are anticipated to receive from the procedures associated with your participation in this research study is ____ mrem, which is less than the amount of radiation exposure a member of the general public receives from natural sources per year on average.

If you have had prior radiation therapy (such as for cancer), or have any questions regarding radiation and its risks, please reach out to the Radiation Safety Office who can put you in touch with someone who can help address your concerns.

Category II: 310 mrem < EDE < 5,000 mrem

Participation in this research study involves exposure to radiation from medical imaging (ex: Fluoroscopy, CT, PET, Nuclear Medicine scan). Every member of the general public receives approximately 310 mrem (a unit of radiation exposure) every year from natural sources, including cosmic radiation and radiation naturally found in our environment. The annual occupational exposure limit for radiation workers is 5,000 mrem, but current evidence and research suggest that the risks of medical imaging at radiation doses below 10,000 mrem are too low to be detectable and may be nonexistent (American Association of Physicists in Medicine Policy PP 25, Health Physics Society Position Statement PS010-4). The total amount of radiation exposure that you are anticipated to receive from the procedures associated with your participation in this research study is ____ mrem, which is lower than the annual occupational limit.

If you have had prior radiation therapy (such as for cancer), or have any questions regarding radiation and its risks, please reach out to the Radiation Safety Office who can put you in touch with someone who can help address your concerns.

Category III: 5,000 mrem < EDE < 10,000 mrem

Participation in this research study involves exposure to radiation from medical imaging (ex: Fluoroscopy, CT, PET, Nuclear Medicine scan). Every member of the general public receives approximately 310 mrem (a unit of radiation exposure) every year from natural sources, including cosmic radiation and radiation naturally found in our environment. The annual occupational exposure limit for radiation workers is 5,000 mrem, but current evidence and research suggest that the risks of medical imaging at radiation doses below 10,000 mrem are too low to be detectable and may be nonexistent (American Association of Physicists in Medicine Policy PP 25, Health Physics Society Position Statement PS010-4). The total amount of radiation exposure that you are anticipated to receive from the procedures associated with your participation in this research study is ____ mrem, which is above the annual occupational exposure limit, but below the threshold where detrimental effects from radiation have been proven.

If you have had prior radiation therapy (such as for cancer), or have any questions regarding radiation and its risks, please reach out to the Radiation Safety Office who can put you in touch with someone who can help address your concerns.

Category IV: EDE > 10,000 mrem

Participation in this research study involves exposure to radiation from medical imaging (ex: Fluoroscopy, CT, PET, Nuclear Medicine scan). Every member of the general public receives approximately 310 mrem (a unit of radiation exposure) every year from natural sources, including cosmic radiation and radiation naturally found in our environment. Current evidence and research suggest that the risks of medical imaging at radiation doses below 10,000 mrem per procedure are too low to be detectable and may be nonexistent (American Association of Physicists in Medicine Policy PP 25, Health Physics Society Position Statement PS010-4). Above this limit, radiation exposure may increase your risks of cancer induction relative to the general population.  If you currently have cancer, additional radiation should not affect the severity of your existing cancer but may increase your risk for future cancer induction*.  According to several academic sources (ICRP 118, ICRP 103, AAPM, HPS), after this 10,000 mrem level detrimental effects such as temporary sterility or the beginning of cataract formation can be seen in about 1% of the population. The total amount of radiation exposure that you are anticipated to receive from the procedures associated with your participation in this research study is ____ mrem, which is higher than the limit at which radiation exposure risks begin to be detectable.

If you have had prior radiation therapy (such as for cancer), or have any questions regarding radiation and its risks, please reach out to the Radiation Safety Office who can put you in touch with someone who can help address your concerns.

*Red text added for Mays Cancer Center research proposals only

References:

BEIR VI: Biological Effects of Ionizing Radiation in Health Effects of Exposure to Low Levels of Ionizing Radiation. National

Research Council of the National Academies, National Academic Press, Washington, D.C., 2006.

Cohen BL. Cancer risk from low-level radiation. AJR 2002; 179: 1137-1143.

Cross, TM ,Smart, RC, Thomson, JEM. Exposure to Diagnostic Ionizing Radiation in Sports Medicine: Assessing and

Monitoring the Risk Volume 13(3):  May 2003, pp 164-170.

Dunn CM, Chadwick G. Protecting Study Volunteers in Research: A Manual for Investigative Sites. Centerwatch, Inc, Boston, MA 1999.

Smart RC, Towson JE, Walker B, Collins L. Research Protocols using ionizing Radiation in Human Volunteers – Communicating the Risk to the Volunteers.

Wiatrowski WA, Giles ER, Cooke EP. Development of a system to evaluate and communicate radiation risk. Health Phys.

1996; 70:111-117.

# Text boxes

| Procedure | HE (mrem**) |
| --- | --- |
| DEXA | 0.1 |
| Intravenous Urography | 300 |
| Upper GI series | 600 |
| Small bowel series | 500 |
| Barium enema | 800 |
| Head angiography | 500 |
| Neck angiography | 500 |
| Coronary angiography (diagnostic) | 700 |
| Coronary percutaneous transluminal angioplasty | 1500 |
| Coronary stent placement or radiofrequency ablation | 1500 |
| Thoracic angiography | 500 |
| Abdominal angiography | 1200 |

| LOOK-UP TABLE FOR ORGAN DOSE EQUIVALENT LIMITS |
| --- |
| WT | 150/ WT | 750/ WT |
| 0.03 | 5000 mrem | 25,000 mrem |
| 0.06 | 2500 mrem | 12,500 mrem |
| 0.12 | 1250 mrem | 6250 mrem |
| 0.15 | 1000 mrem | 5000 mrem |
| 0.25 | 600 mrem | 3000 mrem |